## Canaan II,10800 units
JJL Miller Foundation
Program: Helping Haiti-Canaan II
Community: 10,800 Units
Multifamily Home Building Budget-Canaan II
Canaan II
Lot size to use
W:approx 126'; L: approx 61' | 20' 20' 20' 6' | 20' 20' 20' | 126' |  | 20' 20' 20' 6' | 20' 20' 20' | 126'
30' | 3BR l 3BR I 3BR I STAIRS | 3BR I 3BR I 3BR |  | 30' | 3BR l 3BR I 3BR I STAIRS | 3BR I 3BR I 3BR
6' | HALLWAY | HALLWAY |  | 6' | HALLWAY | HALLWAY
25' | 2BR l 2BR I 1BR I CLOSET | 2BR I 2BR I 2BR |  | 25' | 2BR l 2BR I 1BR I CLOSET | 2BR I 2BR I 2BR
61' |  |  |  | 61'
| Floor 1 and 2 |  |  |  | Floors 3 and 4
| Floor 1 and 2 |  | Number of floors | Total BR | Floors 3 and 4 |  | Number of floors | Total BR
| 1BR | 1 | 2 | 2 | 1BR | 0 | 2 | 0 | 2
| 2BR | 5 | 2 | 10 | 2BR | 6 | 2 | 12 | 22
| 3BR | 6 | 2 | 12 | 3BR | 6 | 2 | 12 | 24
| TOTAL | 12 |  | 24 | TOTAL | 12 |  | 24 | 48
| Total units |  |  | 24 |  |  |  | 24 | 48
One Acre
= 43,560 square feet
= 4,840 square yards
= 160 square rods
= 1/640 square mile (that is, 0.001 562 5 sq. mile)
|  |  |  | Sq Footage |  | Total Sq Footage | Subtotal acres | 30 %Overage | Total acres
| Canaan II | Length | Width | Per building | # buildings | Needed | Needed | Roads/yards | Needed
| Lot size for building | 61 | 126 | 7686 | 1 | 7686 | 0.17645
| Total Units |  |  |  | 1 | 7686 | 0.17645 | 0.052934 | 0.22938
| Number of Floors |  |  |  | 4
| Number Units per Building |  |  |  | 48
| Number of Applicants (families) |  |  |  | 10800 |  | Actual units |  | 10800
| Number of individuals (average family size 7) |  |  |  | 75600
| Number of buildings |  |  |  | 225 |  | Number Buildings |  | 225
[7 empty] | Number acres approximately 70 |  | 51.6105
|  | # Panels needed | Total length-4 floors x 2 | # Panels needed | Total width-4 floors x2
|  | Length per floor | plus 10% overage | Width per floor | plus 10% overage
Panel system-exterior walls of building (Double panels) | (61'/4' panels) x 2 walls x 2 (double panels) | 30.5 | 268.4 |  |  |  | 6000
Panel system-exterior walls of building (Double panels) | (126'/4' panels) x 2 walls x 2 (double panels) |  |  | 63 | 554.4
Total panels-exterior walls |  |  | 268.4 |  | 554.4
Interior hall walls-2 BR side | (25'x 6)/4' panels | 37.5 | 165
Interior hall walls-2 BR side | (20'x6)/4' panels |  |  | 30 | 132
Total panels-interior hall walls- 2BR side |  |  | 165 |  | 132
Interior hall walls-3 BR side | (30'x6)/4' panels | 45 | 198
Interior hall walls-3 BR side | (20'x6)/4' panels |  |  | 30 | 132
Total panels-interior hall walls- 3BR side |  |  | 198 |  | 132
Total Interior/Exterior walls |  |  | 631.4 |  | 818.4 | 1449.8 | 928.4
|  | Number BR in Bldg |  |  | 10 % overage
Interior rooms-1BR | 44 | 2 | 88 |  | 8.8 | 96.8 | 5324
Interior rooms-2BR | 46 | 22 | 1012 |  | 101.2 | 1113.2 | 61226
Interior rooms-3BR | 70 | 24 | 1680 |  | 168 | 1848 | 101640
Total Interior rooms |  | 48 | 2780 | 0 | 278 | 3058 | 168190 | 168190
Total Panels needed | [5 empty] | 4507.8
Cost per panel ($51.37) | [5 empty] | 55
Total Panel Cost | [5 empty] | 247929
Shipping Panels
Interior rooms-1BR--Shipping foregone to be reinvested in program | 44 | 2 | 6 |  | 96.8 | 580.8
Interior rooms-2BR--Shipping foregone to be reinvested in program | 46 | 22 | 6 |  | 1113.2 | 6679.2
Interior rooms-3BR--Shipping foregone to be reinvested in program | 70 | 24 | 6 |  | 1848 | 11088
Building-interior/exterior walls
Panel system-exterior walls of building (Double panels) | (61'/4' panels) x 2 walls x 2 (double panels) | 268.4 | 6 |  |  | 1610.4
Panel system-exterior walls of building (Double panels) | (126'/4' panels) x 2 walls x 2 (double panels) |  |  | 554.4 | 6 | 3326.4
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (25'x 6)/4' panels | 165 | 6 |  |  | 990
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels |  |  | 132 | 6 | 792
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (30'x6)/4' panels | 198 | 6 |  |  | 1188
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels |  |  | 132 | 6 | 792
Total Shipping panels |  | 631.4 |  | 818.4 | 3058 | 27046.8
Windows
Corner units 4 windows |  | 0 | 4 |  |  | 0
Other units- 2 windows | 48 | 2 | 150 |  |  | 14400
Total Window cost | [5 empty] | 14400 | 300
|  |  | Cost |  |  | Total Cost
Doors/locks |  |  |  | per unit
Exterior unit doors | 6 panel colonial-metal | 48 | 100 |  |  | 4800
Exterior door locks-$32 | 26 | 48 | 16 |  |  | 768
Door hinges-exterior doors | 3 | 48 | 1 | 117 |  | 48
One bedroom
1 BR-bedroom and bathroom door-build |  | 4 | 50 |  |  | 200
Door hinges | 3 | 4 | 1 |  |  | 4
Bedrooms and bathrooms locks-$18 | 25 | 4 | 16 |  |  | 64
Two bedrooms | [5 empty] | 0
2 BR-2 bedrooms and bathroom door-build |  | 66 | 50 |  |  | 3300
Door hinges | 3 | 66 | 1 |  |  | 66
Bedrooms and bathrooms locks-$18 | 25 | 66 | 16 |  |  | 1056
Three bedrooms | [5 empty] | 0
3 BR-3 bedrooms and bathroom door-build |  | 96 | 50 |  |  | 4800
Door hinges | 3 | 96 | 1 |  |  | 96
Bedrooms and bathrooms locks-$18 | 25 | 96 | 16 |  |  | 1536
0
Exterior storage doors | interior pine-100 | 4 | 100 |  |  | 400
Storage-Exterior door locks-$32 | 26 | 4 | 16 |  |  | 64
Door hinges | 3 | 4 | 1 |  |  | 4
Building entrance door | cherry wood-exterior $350 | 1 | 350 |  |  | 350
Building-Exterior door locks-$32 | 26 | 1 | 45 |  |  | 45
Hinges-building exterior door | 3 | 1 | 1 | 18 |  | 1
Total Doors/locks | [5 empty] | 17602 | 366.7083
Electrical
One bedroom
Unit wiring-size 12(bigger) for receptacles | 350 | 2 | 0.174 |  |  | 121.8 | $87/500 ft size 12 (bigger) receptacles (.18/ft) |  | 0.174
Unit wiring-size 14 for lights/switches/smoke detectors | 275 | 2 | 0.13 |  |  | 71.5 | $65/500 ft size 14 lights/switches (.13/ft) |  | 0.13
Receptacles-4 per room, bathroom 2 | 18 | 2 | 0.5 |  |  | 18
Receptacles covers-4 per room, bathroom 2 | 18 | 2 | 0.15 |  |  | 5.4
Ceramic Lights-2 per room | 10 | 2 | 0.55 |  |  | 11
Light switches-2 per room | 10 | 2 | 0.5 |  |  | 10
Light covers-2 per room | 10 | 2 | 0.15 |  |  | 3
Ceramic Lights-Hallway 2 | 2 | 2 | 0.55 |  |  | 2.2
Light switches-Hallways 2 | 2 | 2 | 0.5 |  |  | 2
Light covers-Hallways 2 | 2 | 2 | 0.15 |  |  | 0.6
Electrical boxes-receptacles/switches | 18 | 2 | 0.6 |  |  | 21.6
Electrical boxes-lights | 12 | 2 | 1 |  |  | 24
Light bulbs-energy efficient | 12 | 2 | 0.8 |  |  | 19.2
Unit Panel breaker-6 circuits | 1 | 2 | 30 |  |  | 60
Circuit breakers | 4 | 2 | 5.25 |  |  | 42
Safety switch 60 amp | 1 | 2 | 52 |  |  | 104
Doublethrow 2 pole 60 amp | 1 | 2 | 2.1 |  |  | 4.2
Smoke detectors (hard wired)-bedrooms and livingroom | 2 | 2 | 12.5 | 285.25 |  | 50 | Home depot-$50/4= 12.50 each
Two bedrooms
Unit wiring-size 12(bigger) for receptacles | 400 | 22 | 0.174 |  |  | 1531.2
Unit wiring-size 14 for lights/switches/smoke detectors | 350 | 22 | 0.13 |  |  | 1001
Receptacles-4 per room, bathroom 2 | 22 | 22 | 0.5 |  |  | 242
Receptacles covers-4 per room, bathroom 2 | 22 | 22 | 0.15 |  |  | 72.6
Ceramic Lights-2 per room | 12 | 22 | 0.55 |  |  | 145.2
Light switches-2 per room | 12 | 22 | 0.5 |  |  | 132
Light covers-2 per room | 12 | 22 | 0.15 |  |  | 39.6
Ceramic Lights-Hallway 2 | 2 | 22 | 0.55 |  |  | 24.2
Light switches-Hallways 2 | 2 | 22 | 0.5 |  |  | 22
Light covers-Hallways 2 | 2 | 22 | 0.15 |  |  | 6.6
Electrical boxes-receptacles/switches | 22 | 22 | 0.6 |  |  | 290.4
Electrical boxes-lights | 14 | 22 | 1 |  |  | 308
Light bulbs-energy efficient | 14 | 22 | 0.8 |  |  | 246.4
Unit Panel breaker-6 circuits | 1 | 22 | 30 |  |  | 660
Circuit breakers | 4 | 22 | 5.25 |  |  | 462
Safety switch 60 amp | 1 | 22 | 52 |  |  | 1144
Doublethrow 2 pole 60 amp | 1 | 22 | 2.1 |  |  | 46.2
Smoke detectors (hard wired)-bedrooms and livingroom | 3 | 22 | 12.5 | 327.2 |  | 825
Three bedrooms
Unit wiring-size 12(bigger) for receptacles | 400 | 24 | 0.174 |  |  | 1670.4
Unit wiring-size 14 for lights/switches/smoke detectors | 400 | 24 | 0.13 |  |  | 1248
Receptacles-4 per room, bathroom 2 | 26 | 24 | 0.5 |  |  | 312
Receptacles covers-4 per room, bathroom 2 | 26 | 24 | 0.15 |  |  | 93.6
Ceramic Lights-2 per room | 14 | 24 | 0.55 |  |  | 184.8
Lights switches-2 per room | 14 | 24 | 0.5 |  |  | 168
Lights covers-2 per room | 14 | 24 | 0.15 |  |  | 50.4
Ceramic Lights-Hallway 3 | 3 | 24 | 0.55 |  |  | 39.6
Light switches-Hallways 3 | 3 | 24 | 0.5 |  |  | 36
Light covers-Hallways 3 | 3 | 24 | 0.15 |  |  | 10.8
Electrical boxes-receptacles/switches | 26 | 24 | 0.6 |  |  | 374.4
Electrical boxes-lights | 17 | 24 | 1 |  |  | 408
Light bulbs-energy efficient | 17 | 24 | 0.8 |  |  | 326.4
Unit Panel breaker-6 circuits | 1 | 24 | 30 |  |  | 720
Circuit breakers | 4 | 24 | 5.25 |  |  | 504
Safety switch 60 amp | 1 | 24 | 52 |  |  | 1248
Doublethrow 2 pole 60 amp | 1 | 24 | 2.1 |  |  | 50.4
Smoke detectors (hard wired)-bedrooms and livingroom | 4 | 24 | 12.5 | 360.2 |  | 1200
Hallways/storage rooms wiring-12 (bigger) for receptacles | 750 | 1 | 0.174 |  |  | 130.5
Hallways/storage rooms wiring-14 for lights/switches | 750 | 1 | 0.13 |  |  | 97.5
Hallways/storage rooms receptacles | 9 | 4 | 0.5 |  |  | 18
Hallways/storage rooms receptacles covers | 9 | 4 | 0.15 |  |  | 5.4
Hallway and storage room lights | 8 | 4 | 10 |  |  | 320
Hallways/storage room light switches | 8 | 4 | 0.5 |  |  | 16
Hallways/storage room light switch covers | 8 | 4 | 0.15 |  |  | 4.8
Electrical boxes-receptacles/switches | 9 | 4 | 0.6 |  |  | 21.6
Electrical boxes-lights | 8 | 4 | 1 |  |  | 32
Light bulbs-energy efficient | 8 | 4 | 0.8 |  |  | 25.6
Building panel breaker-8 circuits | 1 | 1 | 40 |  |  | 40
Circuit breakers | 6 | 1 | 5.25 |  |  | 31.5
Safety switch 60 amp | 1 | 1 | 52 |  |  | 52
Doublethrow 2 pole 60 amp | 1 | 1 | 2.1 |  |  | 2.1
Smoke detectors (hard wired)-hallways and storage rooms | 5 | 4 | 12.5 |  |  | 250
Hallway fire extinguishers | 4 | 4 | 30 | 31.8125 | 1527 | 480
Total Electrical | [5 empty] | 17940.7 | 373.7646 | 17600
Solar panels/inverters/batteries
Unit solar system-I bedroom | 1 | 2 | 1500 |  |  | 3000
Unit solar system-2 bedrooms | 1 | 22 | 1700 |  |  | 37400
Unit solar system-3 bedrooms | 1 | 24 | 2000 |  |  | 48000
Building solar system- $4,375 | 1 | 1 | 3500 |  |  | 3500
800 watt solar system-$4,375 | [5 empty] | 0
8 batteries, inverter, converter | [5 empty] | 0
300 watt solar system-$1,875 | [5 empty] | 0
2 batteries, inverter, converter | [5 empty] | 0
Batteries (use 4, Haiti $125, 2-5 year life) | [5 empty] | 0
Total Solar panels/inverters/batteries | [5 empty] | 91900 | 1914.5833 |  | 93600
Plumbing
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 48 | 4.6 |  |  | 1104 | $5-6/10 ft length
Units-PVC pipe fittings | 6 | 48 | 1 |  |  | 288
Units-glue/putty | 1 | 48 | 10 |  |  | 480
Units j trap | 3 | 48 | 5 |  |  | 720
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 48 | 5 |  |  | 960
Toilet flange and gasket (includes wax ring)-4 in | 1 | 48 | 1.6 |  |  | 76.8
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 48 | 1.25 |  |  | 240
Units-Drain pipe/glue/connectors | 1 | 48 | 50 |  |  | 2400
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 48 | 75 |  |  | 3600
Units-vanity | 1 | 48 | 26 |  |  | 1248
Units-toilet corona | 1 | 48 | 45 |  |  | 2160
Units-faucet | 1 | 48 | 30 |  |  | 1440
Units-shower fixture | 1 | 48 | 35 |  |  | 1680
0
Storage closet-PVC pipe | 5 | 4 | 4.6 |  |  | 92
Storage closet-PVC pipe fittings | 6 | 4 | 1 |  |  | 24
Storage closet-glue/putty | 1 | 4 | 10 |  |  | 40
J trap | 1 | 4 | 5 |  |  | 20
Storage closet shut off valves-2 | 2 | 4 | 5 |  |  | 40
Storage closet-Utility sink | 1 | 4 | 50 |  |  | 200
Storage closet-sink fixture | 1 | 4 | 25 |  |  | 100
Flexible line connectors | 1 | 4 | 1.25 |  |  | 5
Building water line | 20 | 1 | 4.6 |  |  | 92
Building sewer line/glue/connectors/drain cleanout/cap | 3 | 1 | 50 |  |  | 150
Total Plumbing cost | [5 empty] | 17159.8 | 357.4958
Kitchen
Stove | 165 | 48 | 165 |  |  | 7920
Refrigerator | 350--s/b able to get cheaper | 48 | 300 |  |  | 14400
Kitchen cabinets-minimum 4-build |  | 48 | 150 |  |  | 7200
Countertop-build (use concrete board, tile, plastic strip) |  | 48 | 75 |  |  | 3600
Base cabinet-build |  | 48 | 75 |  |  | 3600
Base cabinet sink | single 26, double 45 | 48 | 26 |  |  | 1248
Kitchen drain |  | 48 | 1.55 |  |  | 74.4
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 50 | 48 | 35 |  |  | 1680
Total Kitchen cost | [5 empty] | 39722.4 | 827.55
Interior Walls /Floors
One bedroom-ceramic tile | 400 | 2 | 1 |  |  | 800
One bedroom-grout/thin set | 1 | 2 | 125 |  |  | 250
One bedroom-paint interior walls-tropitex $31/5gallons | 6 | 2 | 6.2 |  |  | 74.4 | One gallon 12'x15' room=6.2 gallon |  | 6.2
Two bedrooms-ceramic tile | 500 | 22 | 1 |  |  | 11000
Two bedrooms-grout/thin set | 1 | 22 | 125 |  |  | 2750
Two bedrooms-paint interior walls | 8 | 22 | 6.2 |  |  | 1091.2
Three bedrooms-ceramic tile | 600 | 24 | 1 |  |  | 14400
Three bedrooms-grout/thin set | 1 | 24 | 125 |  |  | 3000
Three bedrooms-paint interior walls | 10 | 24 | 6.2 |  |  | 1488
0
Hallways and common areas-ceramic tile | 1086 | 4 | 1 |  |  | 4344
Hallways and common areas-grout/thin set | 2 | 4 | 125 |  |  | 1000
Hallways and common areas-paint interior walls | 10 | 4 | 6.2 |  |  | 248
Total Interior Walls/floor cost | [5 empty] | 40445.6 | 842.6167 | 56344
Exterior
Exterior painting | 40 | 1 | 6.2 |  |  | 248
Landscaping | 1 | 1 | 2000 |  |  | 2000
Total Exterior painting/landscaping | [5 empty] | 2248 | 46.8333
Security | [5 empty] | 25000
Security fence around building
Building entrance security door
Security station at building entrance
Security monitoring system and cameras
Total Security | [5 empty] | 25000
Other
Concrete-exterior and interior walls/rebar |  | 4 | 5000 |  |  | 20000
Hallway stairs-need 4 feet width |  | 4 | 1500 |  |  | 6000
Building footing/foundation |  | 1 | 25000 |  |  | 25000
Building -floors/beam/cement/rebar |  | 4 | 5000 |  |  | 20000
Building-roof (zinc-cap sides with capping-tin aluminum) | 7686 | 277.2 | 28 |  |  | 7761.6
12' x 3', 35mm thick | 28 |  |  |  |  | 0
Building roof-ridge |  | 1 | 500 |  |  | 500
Building roof-cement |  | 1 | 5000 |  |  | 5000
Building gutters/gutters |  | 1 | 500 |  |  | 500
Tank to collect water and recycle |  | 2 | 425 |  |  | 850
Labor ($750x48 units) |  | 48 | 750 |  |  | 36000 | 8100000
Backup generator |  | 1 | 10000 |  |  | 10000
Land |  | 0.22938 | 50000 |  |  | 11469.0083 | 2580526.8595
Windows/stairways |  | 4 | 1000 |  |  | 4000
Water tank (top of building)-400 gallons |  | 2 | 425 |  |  | 850
Water reservoir-in ground (concrete liner)$1 gallon to build-1,000 gallons |  | 1 | 2500 |  |  | 2500
Water pump system-pressure tank 30 gallons |  | 2 | 260 |  |  | 520
Pump 1.5 horsepower |  | 2 | 500 |  |  | 1000
Propane tanks piped (copper or copper tubing) to each unit/storage cage |  | 1 | 5000 |  |  | 5000
Miscellaneous |  | 1 | 26655.09 |  |  | 26655.09
Total-Other | [5 empty] | 183605.6983
Grand Total | [5 empty] | 724999.9983
Total Shipping
Building Costs | One Building | Number of Buildings | Total | 233 Buildings
Labor | 36000 | 225 | 8100000
Shipping | 27046.8 | 225 | 6085530 | 6301904.4
Building Materials and Supplies | 650484.19 | 225 | 146358942.75
Land | 11469.0083 | 225 | 2580526.8595
Total | 724999.9983 |  | 163124999.6095 | 163125000 | 32625000 | Budgeted per year
Costs per unit | One Building | Direct Cost per Unit | Common Cost Allocated | Total Cost per Unit | Number of Units | Total
One Bedroom Unit | 14040 | 7020 | 4756.2977 | 11776.2977 | 2 | 23552.5954
Two Bedroom Unit | 166662.1 | 7575.55 | 5945.3721 | 13520.9221 | 22 | 297460.2863
Three Bedroom Unit | 232760.4 | 9698.35 | 7134.4465 | 16832.7965 | 24 | 403987.1166
Common Costs | 311537.4983 |  |  | 0 |  | 0
Total | 724999.9983 | 24293.9 | 17836.1163 | 42130.0163 | 48 | 724999.9983
Detail for Common area costs and Unit Costs
Common area costs
Total Interior/Exterior walls |  | 1449.8 | 55 |  | 79739
Building-interior/exterior walls: Shipping
Panel system-exterior walls of building (Double panels) | (61'/4' panels) x 2 walls x 2 (double panels) | 268.4 | 6 |  | 1610.4
Panel system-exterior walls of building (Double panels) | (126'/4' panels) x 2 walls x 2 (double panels) | 554.4 | 6 |  | 3326.4
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (25'x 6)/4' panels | 165 | 6 |  | 990
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels | 132 | 6 |  | 792
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (30'x6)/4' panels | 198 | 6 |  | 1188
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels | 132 | 6 |  | 792
Exterior storage doors |  | 4 | 100 |  | 400
Storage-Exterior door locks-$32 |  | 4 | 16 |  | 64
Door hinges |  | 4 | 1 |  | 4
Building entrance door |  | 1 | 350 |  | 350
Building-Exterior door locks-$32 |  | 1 | 45 |  | 45
Hinges-building exterior door |  | 1 | 1 |  | 1 | 18
Hallways/storage rooms wiring-12 (bigger) for receptacles | 750 | 1 | 0.174 |  | 130.5
Hallways/storage rooms wiring-14 for lights/switches | 750 | 1 | 0.13 |  | 97.5
Hallways/storage rooms receptacles | 9 | 4 | 0.5 |  | 18
Hallways/storage rooms receptacles covers | 9 | 4 | 0.15 |  | 5.4
Hallway and storage room lights | 8 | 4 | 10 |  | 320
Hallways/storage room light switches | 8 | 4 | 0.5 |  | 16
Hallways/storage room light switch covers | 8 | 4 | 0.15 |  | 4.8
Electrical boxes-receptacles/switches | 9 | 4 | 0.6 |  | 21.6
Electrical boxes-lights | 8 | 4 | 1 |  | 32
Light bulbs-energy efficient | 8 | 4 | 0.8 |  | 25.6
Building panel breaker-8 circuits | 1 | 1 | 40 |  | 40
Circuit breakers | 6 | 1 | 5.25 |  | 31.5
Safety switch 60 amp | 1 | 1 | 52 |  | 52
Doublethrow 2 pole 60 amp | 1 | 1 | 2.1 |  | 2.1
Smoke detectors (hard wired)-hallways and storage rooms | 5 | 4 | 12.5 |  | 250
Hallway fire extinguishers | 4 | 4 | 30 |  | 480 | 31.8125 | 1527
Storage closet-PVC pipe | 5 | 4 | 4.6 |  | 92
Storage closet-PVC pipe fittings | 6 | 4 | 1 |  | 24
Storage closet-glue/putty | 1 | 4 | 10 |  | 40
J trap | 1 | 4 | 5 |  | 20
Storage closet shut off valves-2 | 2 | 4 | 5 |  | 40
Storage closet-Utility sink | 1 | 4 | 50 |  | 200
Storage closet-sink fixture | 1 | 4 | 25 |  | 100
Flexible line connectors | 1 | 4 | 1.25 |  | 5
Building water line | 20 | 1 | 4.6 |  | 92
Building sewer line/glue/connectors/drain cleanout/cap | 3 | 1 | 50 |  | 150
Hallways and common areas-ceramic tile | 1086 | 4 | 1 |  | 4344
Hallways and common areas-grout/thin set | 2 | 4 | 125 |  | 1000
Hallways and common areas-paint interior walls | 10 | 4 | 6.2 |  | 248
Exterior painting | 40 | 1 | 6.2 |  | 248
Landscaping | 1 | 1 | 2000 |  | 2000
Building solar system- $4,375 | 1 | 1 | 3500 |  | 3500
Security |  |  |  |  | 25000
Security fence around building
Building entrance security door
Security station at building entrance
Security monitoring system and cameras
Other
Concrete-exterior and interior walls/rebar |  | 4 | 5000 |  | 20000
Hallway stairs-need 4 feet width |  | 4 | 1500 |  | 6000
Building footing/foundation |  | 1 | 25000 |  | 25000
Building -floors/beam/cement/rebar |  | 4 | 5000 |  | 20000
Building-roof (zinc-cap sides with capping-tin aluminum) | 7686 | 277.2 | 28 |  | 7761.6
12' x 3', 35mm thick | 28 | 0 | 0 |  | 0
Building roof-ridge |  | 1 | 500 |  | 500
Building roof-cement |  | 1 | 5000 |  | 5000
Building gutters/gutters |  | 1 | 500 |  | 500
Tank to collect water and recycle |  | 2 | 425 |  | 850
Labor ($750x48 units) |  | 48 | 750 |  | 36000
Backup generator |  | 1 | 10000 |  | 10000
Land |  | 0.22938 | 50000 |  | 11469.0083
Windows/stairways |  | 4 | 1000 |  | 4000
Water tank (top of building)-400 gallons |  | 2 | 425 |  | 850
Water reservoir-in ground (concrete liner)$1 gallon to build-1,000 gallons |  | 1 | 2500 |  | 2500
Water pump system-pressure tank 30 gallons |  | 2 | 260 |  | 520
Pump 1.5 horsepower |  | 2 | 500 |  | 1000
Propane tanks piped (copper or copper tubing) to each unit/storage cage |  | 1 | 5000 |  | 5000 | Total costs of Units | Cost per unit
Miscellaneous |  | 1 | 26655.09 |  | 26655.09 | 311537.4983 | 6490.3645
Common costs allocation
| Square footage | Number of units | Total square footage | Allocation % | Total to allocate | Allocated Amount | Per unit allocation
I bedroom unit | 400 | 2 | 800 | 0.030534 | 311537.4983 | 9512.5954 | 4756.2977
2 bedroom unit | 500 | 22 | 11000 | 0.41985 | 311537.4983 | 130798.1863 | 5945.3721
3 bedroom unit | 600 | 24 | 14400 | 0.54962 | 311537.4983 | 171226.7166 | 7134.4465
Total | 1500 |  | 26200 | 1 |  | 311537.4983 | 17836.1163
Total Common Costs | [5 empty] | 311537.4983
Allocated amount
One bedroom
Panels- Interior rooms | 48.4 | 2 | 55 |  | 5324
Shipping panels for interior walls | 48.4 | 2 | 6 |  | 580.8
2 windows | 2 | 2 | 150 |  | 600
Exterior unit doors | 1 | 2 | 100 |  | 200
Exterior door locks-$32 | 1 | 2 | 16 |  | 32
Door hinges-exterior doors | 1 | 2 | 1 |  | 2
1 BR-bedroom and bathroom door-build | 2 | 2 | 50 |  | 200
Door hinges | 2 | 2 | 1 |  | 4
Bedrooms and bathrooms locks-$18 | 2 | 2 | 16 |  | 64
Unit wiring-size 12(bigger) for receptacles | 350 | 2 | 0.174 |  | 121.8
Unit wiring-size 14 for lights/switches/smoke detectors | 275 | 2 | 0.13 |  | 71.5
Receptacles-4 per room, bathroom 2 | 18 | 2 | 0.5 |  | 18
Receptacles covers-4 per room, bathroom 2 | 18 | 2 | 0.15 |  | 5.4
Ceramic Lights-2 per room | 10 | 2 | 0.55 |  | 11
Lights switches-2 per room | 10 | 2 | 0.5 |  | 10
Lights covers-2 per room | 10 | 2 | 0.15 |  | 3
Ceramic Lights-Hallway 2 | 2 | 2 | 0.55 |  | 2.2
Light switches-Hallways 2 | 2 | 2 | 0.5 |  | 2
Light covers-Hallways 2 | 2 | 2 | 0.15 |  | 0.6
Electrical boxes-receptacles/switches | 18 | 2 | 0.6 |  | 21.6
Electrical boxes-lights | 12 | 2 | 1 |  | 24
Light bulbs-energy efficient | 12 | 2 | 0.8 |  | 19.2
Unit Panel breaker-6 circuits | 1 | 2 | 30 |  | 60
Circuit breakers | 4 | 2 | 5.25 |  | 42
Safety switch 60 amp | 1 | 2 | 52 |  | 104
Doublethrow 2 pole 60 amp | 1 | 2 | 2.1 |  | 4.2
Smoke detectors (hard wired)-bedrooms and livingroom | 2 | 2 | 12.5 |  | 50 | 570.5
Stove | 1 | 2 | 165 |  | 330
Refrigerator | 1 | 2 | 300 |  | 600
Kitchen cabinets-minimum 4-build | 1 | 2 | 150 |  | 300
Countertop-build (use concrete board, tile, plastic strip) | 1 | 2 | 75 |  | 150
Base cabinet-build | 1 | 2 | 75 |  | 150
Base cabinet sink | 1 | 2 | 26 |  | 52
Kitchen drain | 1 | 2 | 1.55 |  | 3.1
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 2 | 35 |  | 70
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 2 | 4.6 |  | 46
Units-PVC pipe fittings | 6 | 2 | 1 |  | 12
Units-glue/putty | 1 | 2 | 10 |  | 20
Units j trap | 3 | 2 | 5 |  | 30
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 2 | 5 |  | 40
Toilet flange and gasket (includes wax ring)-4 in | 1 | 2 | 1.6 |  | 3.2
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 2 | 1.25 |  | 10
Units-Drain pipe/glue/connectors | 1 | 2 | 50 |  | 100
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 2 | 75 |  | 150
Units-vanity | 1 | 2 | 26 |  | 52
Units-toilet corona | 1 | 2 | 45 |  | 90
Units-faucet | 1 | 2 | 30 |  | 60
Units-shower fixture | 1 | 2 | 35 |  | 70
One bedroom-ceramic tile | 400 | 2 | 1 |  | 800
One bedroom-grout/thin set | 1 | 2 | 125 |  | 250
One bedroom-paint interior walls-tropitex $31/5gallons | 6 | 2 | 6.2 |  | 74.4
0
Unit solar system-I bedroom | 1 | 2 | 1500 |  | 3000
[6 empty] | Total costs of Units | Cost per unit
Subtotal-before allocation of common costs | [5 empty] | 14040 | 7020
Common costs allocation | [5 empty] | 9512.5954 | 4756.2977
Grand total | [5 empty] | 23552.5954 | 11776.2977
Two Bedrooms
Panels- Interior rooms | 50.6 | 22 | 55 |  | 61226
Shipping panels for interior walls | 50.6 | 22 | 6 |  | 6679.2
2 windows | 2 | 22 | 150 |  | 6600
Exterior unit doors | 1 | 22 | 100 |  | 2200
Exterior door locks-$32 | 1 | 22 | 16 |  | 352
Door hinges-exterior doors | 1 | 22 | 1 |  | 22
2 BR-2 bedrooms and bathroom door-build | 3 | 22 | 50 |  | 3300
Door hinges | 3 | 22 | 1 |  | 66
Bedrooms and bathrooms locks-$18 | 3 | 22 | 16 |  | 1056
Unit wiring-size 12(bigger) for receptacles | 400 | 22 | 0.174 |  | 1531.2
Unit wiring-size 14 for lights/switches/smoke detectors | 350 | 22 | 0.13 |  | 1001
Receptacles-4 per room, bathroom 2 | 22 | 22 | 0.5 |  | 242
Receptacles covers-4 per room, bathroom 2 | 22 | 22 | 0.15 |  | 72.6
Ceramic Lights-2 per room | 12 | 22 | 0.55 |  | 145.2
Lights switches-2 per room | 12 | 22 | 0.5 |  | 132
Lights covers-2 per room | 12 | 22 | 0.15 |  | 39.6
Ceramic Lights-Hallway 2 | 2 | 22 | 0.55 |  | 24.2
Light switches-Hallways 2 | 2 | 22 | 0.5 |  | 22
Light covers-Hallways 2 | 2 | 22 | 0.15 |  | 6.6
Electrical boxes-receptacles/switches | 22 | 22 | 0.6 |  | 290.4
Electrical boxes-lights | 14 | 22 | 1 |  | 308
Light bulbs-energy efficient | 14 | 22 | 0.8 |  | 246.4
Unit Panel breaker-6 circuits | 1 | 22 | 30 |  | 660
Circuit breakers | 4 | 22 | 5.25 |  | 462
Safety switch 60 amp | 1 | 22 | 52 |  | 1144
Doublethrow 2 pole 60 amp | 1 | 22 | 2.1 |  | 46.2
Smoke detectors (hard wired)-bedrooms and livingroom | 3 | 22 | 12.5 |  | 825 | 7198.4
Stove | 1 | 22 | 165 |  | 3630
Refrigerator | 1 | 22 | 300 |  | 6600
Kitchen cabinets-minimum 4-build | 1 | 22 | 150 |  | 3300
Countertop-build (use concrete board, tile, plastic strip) | 1 | 22 | 75 |  | 1650
Base cabinet-build | 1 | 22 | 75 |  | 1650
Base cabinet sink | 1 | 22 | 26 |  | 572
Kitchen drain | 1 | 22 | 1.55 |  | 34.1
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 22 | 35 |  | 770
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 22 | 4.6 |  | 506
Units-PVC pipe fittings | 6 | 22 | 1 |  | 132
Units-glue/putty | 1 | 22 | 10 |  | 220
Units j trap | 3 | 22 | 5 |  | 330
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 22 | 5 |  | 440
Toilet flange and gasket (includes wax ring)-4 in | 1 | 22 | 1.6 |  | 35.2
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 22 | 1.25 |  | 110
Units-Drain pipe/glue/connectors | 1 | 22 | 50 |  | 1100
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 22 | 75 |  | 1650
Units-vanity | 1 | 22 | 26 |  | 572
Units-toilet corona | 1 | 22 | 45 |  | 990
Units-faucet | 1 | 22 | 30 |  | 660
Units-shower fixture | 1 | 22 | 35 |  | 770
Two bedrooms-ceramic tile | 500 | 22 | 1 |  | 11000
Two bedrooms-grout/thin set | 1 | 22 | 125 |  | 2750
Two bedrooms-paint interior walls | 8 | 22 | 6.2 |  | 1091.2
Unit solar system-2 bedrooms | 1 | 22 | 1700 |  | 37400
[6 empty] | Total costs of Units | Cost per unit
Subtotal-before allocation of common costs | [5 empty] | 166662.1 | 7575.55
Common costs allocation | [5 empty] | 130798.1863 | 5945.3721
Grand total | [5 empty] | 297460.2863 | 13520.9221
3 Bedrooms
Panels- Interior rooms | 77 | 24 | 55 |  | 101640
Shipping panels for interior walls | 77 | 24 | 6 |  | 11088
2 windows | 2 | 24 | 150 |  | 7200
Exterior unit doors | 1 | 24 | 100 |  | 2400
Exterior door locks-$32 | 1 | 24 | 16 |  | 384
Door hinges-exterior doors | 1 | 24 | 1 |  | 24
3 BR-3 bedrooms and bathroom door-build | 4 | 24 | 50 |  | 4800
Door hinges | 4 | 24 | 1 |  | 96
Bedrooms and bathrooms locks-$18 | 4 | 24 | 16 |  | 1536
Unit wiring-size 12(bigger) for receptacles | 400 | 24 | 0.174 |  | 1670.4
Unit wiring-size 14 for lights/switches/smoke detectors | 400 | 24 | 0.13 |  | 1248
Receptacles-4 per room, bathroom 2 | 26 | 24 | 0.5 |  | 312
Receptacles covers-4 per room, bathroom 2 | 26 | 24 | 0.15 |  | 93.6
Ceramic Lights-2 per room | 14 | 24 | 0.55 |  | 184.8
Lights switches-2 per room | 14 | 24 | 0.5 |  | 168
Lights covers-2 per room | 14 | 24 | 0.15 |  | 50.4
Ceramic Lights-Hallway 3 | 3 | 24 | 0.55 |  | 39.6
Light switches-Hallways 3 | 3 | 24 | 0.5 |  | 36
Light covers-Hallways 3 | 3 | 24 | 0.15 |  | 10.8
Electrical boxes-receptacles/switches | 26 | 24 | 0.6 |  | 374.4
Electrical boxes-lights | 17 | 24 | 1 |  | 408
Light bulbs-energy efficient | 17 | 24 | 0.8 |  | 326.4
Unit Panel breaker-6 circuits | 1 | 24 | 30 |  | 720
Circuit breakers | 4 | 24 | 5.25 |  | 504
Safety switch 60 amp | 1 | 24 | 52 |  | 1248
Doublethrow 2 pole 60 amp | 1 | 24 | 2.1 |  | 50.4
Smoke detectors (hard wired)-bedrooms and livingroom | 4 | 24 | 12.5 |  | 1200 | 8644.8
Stove | 1 | 24 | 165 |  | 3960
Refrigerator | 1 | 24 | 300 |  | 7200
Kitchen cabinets-minimum 4-build | 1 | 24 | 150 |  | 3600
Countertop-build (use concrete board, tile, plastic strip) | 1 | 24 | 75 |  | 1800
Base cabinet-build | 1 | 24 | 75 |  | 1800
Base cabinet sink | 1 | 24 | 26 |  | 624
Kitchen drain | 1 | 24 | 1.55 |  | 37.2
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 24 | 35 |  | 840
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 24 | 4.6 |  | 552
Units-PVC pipe fittings | 6 | 24 | 1 |  | 144
Units-glue/putty | 1 | 24 | 10 |  | 240
Units j trap | 3 | 24 | 5 |  | 360
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 24 | 5 |  | 480
Toilet flange and gasket (includes wax ring)-4 in | 1 | 24 | 1.6 |  | 38.4
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 24 | 1.25 |  | 120
Units-Drain pipe/glue/connectors | 1 | 24 | 50 |  | 1200
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 24 | 75 |  | 1800
Units-vanity | 1 | 24 | 26 |  | 624
Units-toilet corona | 1 | 24 | 45 |  | 1080
Units-faucet | 1 | 24 | 30 |  | 720
Units-shower fixture | 1 | 24 | 35 |  | 840
Three bedrooms-ceramic tile | 600 | 24 | 1 |  | 14400
Three bedrooms-grout/thin set | 1 | 24 | 125 |  | 3000
Three bedrooms-paint interior walls | 10 | 24 | 6.2 |  | 1488
Unit solar system-3 bedrooms | 1 | 24 | 2000 |  | 48000
[6 empty] | Total costs of Units | Cost per unit
Subtotal-before allocation of common costs | [5 empty] | 232760.4 | 9698.35
Common costs allocation | [5 empty] | 171226.7166 | 7134.4465
Grand total | [5 empty] | 403987.1166 | 16832.7965
Total building costs | [5 empty] | 724999.9983
Total |  |  |  |  | 724999.9983
Note on G211: JJL MillerFoundation:

## Cost per unit.bldg.project
JJL Miller Foundation
Program: Helping Haiti-Canaan II
Costs per Unit, Building and Project
| Number Units | Number of
| Per Building | Buildings | Total
1BR | 2 | 225 | 450
2BR | 22 | 225 | 4950
3BR | 24 | 225 | 5400
Total | 48 |  | 10800
Common area costs |  |  |  | Unit Cost | Total Costs
Total Interior/Exterior walls |  |  | 1449.8 | 55 | 79739
Building-interior/exterior walls: Shipping
Panel system-exterior walls of building (Double panels) | (61'/4' panels) x 2 walls x 2 (double panels) |  | 268.4 | 6 | 1610.4
Panel system-exterior walls of building (Double panels) | (126'/4' panels) x 2 walls x 2 (double panels) |  | 554.4 | 6 | 3326.4
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (25'x 6)/4' panels |  | 165 | 6 | 990
Interior hall walls-2 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels |  | 132 | 6 | 792
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (30'x6)/4' panels |  | 198 | 6 | 1188
Interior hall walls-3 BR side-shipping foregone, reinvest in program | (20'x6)/4' panels |  | 132 | 6 | 792
Exterior storage doors |  |  | 4 | 100 | 400
Storage-Exterior door locks-$32 |  |  | 4 | 16 | 64
Door hinges |  |  | 4 | 1 | 4
Building entrance door |  |  | 1 | 350 | 350
Building-Exterior door locks-$32 |  |  | 1 | 45 | 45
Hinges-building exterior door |  |  | 1 | 1 | 1
Hallways/storage rooms wiring-12 (bigger) for receptacles |  | 750 | 1 | 0.174 | 130.5
Hallways/storage rooms wiring-14 for lights/switches |  | 750 | 1 | 0.13 | 97.5
Hallways/storage rooms receptacles |  | 9 | 4 | 0.5 | 18
Hallways/storage rooms receptacles covers |  | 9 | 4 | 0.15 | 5.4
Hallway and storage room lights |  | 8 | 4 | 10 | 320
Hallways/storage room light switches |  | 8 | 4 | 0.5 | 16
Hallways/storage room light switch covers |  | 8 | 4 | 0.15 | 4.8
Electrical boxes-receptacles/switches |  | 9 | 4 | 0.6 | 21.6
Electrical boxes-lights |  | 8 | 4 | 1 | 32
Light bulbs-energy efficient |  | 8 | 4 | 0.8 | 25.6
Building panel breaker-8 circuits |  | 1 | 1 | 40 | 40
Circuit breakers |  | 6 | 1 | 5.25 | 31.5
Safety switch 60 amp |  | 1 | 1 | 52 | 52
Doublethrow 2 pole 60 amp |  | 1 | 1 | 2.1 | 2.1
Smoke detectors (hard wired)-hallways and storage rooms |  | 5 | 4 | 12.5 | 250
Hallway fire extinguishers |  | 4 | 4 | 30 | 480
Storage closet-PVC pipe |  | 5 | 4 | 4.6 | 92
Storage closet-PVC pipe fittings |  | 6 | 4 | 1 | 24
Storage closet-glue/putty |  | 1 | 4 | 10 | 40
J trap |  | 1 | 4 | 5 | 20
Storage closet shut off valves-2 |  | 2 | 4 | 5 | 40
Storage closet-Utility sink |  | 1 | 4 | 50 | 200
Storage closet-sink fixture |  | 1 | 4 | 25 | 100
Flexible line connectors |  | 1 | 4 | 1.25 | 5
Building water line |  | 20 | 1 | 4.6 | 92
Building sewer line/glue/connectors/drain cleanout/cap |  | 3 | 1 | 50 | 150
Hallways and common areas-ceramic tile |  | 1086 | 4 | 1 | 4344
Hallways and common areas-grout/thin set |  | 2 | 4 | 125 | 1000
Hallways and common areas-paint interior walls |  | 10 | 4 | 6.2 | 248
Exterior painting |  | 40 | 1 | 6.2 | 248
Landscaping |  | 1 | 1 | 2000 | 2000
Building solar system- $4,375 |  | 1 | 1 | 3500 | 3500
Security |  |  | 1 | 25000 | 25000
Security fence around building
Building entrance security door
Security station at building entrance
Security monitoring system and cameras
Other
Concrete-exterior and interior walls/rebar |  |  | 4 | 5000 | 20000
Hallway stairs-need 4 feet width |  |  | 4 | 1500 | 6000
Building footing/foundation |  |  | 1 | 25000 | 25000
Building -floors/beam/cement/rebar |  |  | 4 | 5000 | 20000
Building-roof (zinc-cap sides with capping-tin aluminum) |  | 7686 | 277.2 | 28 | 7761.6
12' x 3', 35mm thick |  | 28
Building roof-ridge |  |  | 1 | 500 | 500
Building roof-cement |  |  | 1 | 5000 | 5000
Building gutters/gutters |  |  | 1 | 500 | 500
Tank to collect water and recycle |  |  | 2 | 425 | 850
Labor ($750x48 units) |  |  | 48 | 750 | 36000
Backup generator |  |  | 1 | 10000 | 10000
Land |  |  | 0.22938 | 50000 | 11469.0083
Windows/stairways |  |  | 4 | 1000 | 4000
Water tank (top of building)-400 gallons |  |  | 2 | 425 | 850
Water reservoir-in ground (concrete liner)$1 gallon to build-1,000 gallons |  |  | 1 | 2500 | 2500
Water pump system-pressure tank 30 gallons |  |  | 2 | 260 | 520
Pump 1.5 horsepower |  |  | 2 | 500 | 1000
Propane tanks piped (copper or copper tubing) to each unit/storage cage |  |  | 1 | 5000 | 5000
Miscellaneous |  |  | 1 | 26655.09 | 26655.09
Common costs allocation |  |  |  |  | 311537.4983
Per Community
|  | Per unit | Per building | 225 Buildings
I bedroom unit |  | 4756.2977 | 9512.5954 | 2140333.9575
2 bedroom unit |  | 5945.3721 | 130798.1863 | 29429591.9162
3 bedroom unit |  | 7134.4465 | 171226.7166 | 38526011.2358
Total |  |  | 311537.4983 | 70095937.1095
| Square | Number of | Total Square |  | Total to | Allocated | Per Unit
Common costs allocation | Footage | Units | Footage | Allocation % | Allocate | Amount | Allocation
I bedroom unit | 400 | 2 | 800 | 0.030534 | 311537.4983 | 9512.5954 | 4756.2977
2 bedroom unit | 500 | 22 | 11000 | 0.41985 | 311537.4983 | 130798.1863 | 5945.3721
3 bedroom unit | 600 | 24 | 14400 | 0.54962 | 311537.4983 | 171226.7166 | 7134.4465
Total |  | 48 | 26200 | 1 | 934612.4948 | 311537.4983 | 17836.1163
|  |  |  | Budgeted Cost | Budgeted Cost | Number of | Total Budgeted
One Bedroom | Quantity |  | Unit Cost | Per Unit | Per Building | Buildings | Cost
Panels- Interior rooms | 48.4 | 1 | 55 | 2662 | 5324 | 225 | 1197900
Shipping panels for interior walls | 48.4 | 1 | 6 | 290.4 | 580.8 | 225 | 130680
2 windows | 2 | 1 | 150 | 300 | 600 | 225 | 135000
Exterior unit doors | 1 | 1 | 100 | 100 | 200 | 225 | 45000
Exterior door locks-$32 | 1 | 1 | 16 | 16 | 32 | 225 | 7200
Door hinges-exterior doors | 1 | 1 | 1 | 1 | 2 | 225 | 450
1 BR-bedroom and bathroom door-build | 2 | 1 | 50 | 100 | 200 | 225 | 45000
Door hinges | 2 | 1 | 1 | 2 | 4 | 225 | 900
Bedrooms and bathrooms locks-$18 | 2 | 1 | 16 | 32 | 64 | 225 | 14400
Unit wiring-size 12(bigger) for receptacles | 350 | 1 | 0.174 | 60.9 | 121.8 | 225 | 27405
Unit wiring-size 14 for lights/switches/smoke detectors | 275 | 1 | 0.13 | 35.75 | 71.5 | 225 | 16087.5
Receptacles-4 per room, bathroom 2 | 18 | 1 | 0.5 | 9 | 18 | 225 | 4050
Receptacles covers-4 per room, bathroom 2 | 18 | 1 | 0.15 | 2.7 | 5.4 | 225 | 1215
Ceramic Lights-2 per room | 10 | 1 | 0.55 | 5.5 | 11 | 225 | 2475
Lights switches-2 per room | 10 | 1 | 0.5 | 5 | 10 | 225 | 2250
Lights covers-2 per room | 10 | 1 | 0.15 | 1.5 | 3 | 225 | 675
Ceramic Lights-Hallway 2 | 2 | 1 | 0.55 | 1.1 | 2.2 | 225 | 495
Light switches-Hallways 2 | 2 | 1 | 0.5 | 1 | 2 | 225 | 450
Light covers-Hallways 2 | 2 | 1 | 0.15 | 0.3 | 0.6 | 225 | 135
Electrical boxes-receptacles/switches | 18 | 1 | 0.6 | 10.8 | 21.6 | 225 | 4860
Electrical boxes-lights | 12 | 1 | 1 | 12 | 24 | 225 | 5400
Light bulbs-energy efficient | 12 | 1 | 0.8 | 9.6 | 19.2 | 225 | 4320
Unit Panel breaker-6 circuits | 1 | 1 | 30 | 30 | 60 | 225 | 13500
Circuit breakers | 4 | 1 | 5.25 | 21 | 42 | 225 | 9450
Safety switch 60 amp | 1 | 1 | 52 | 52 | 104 | 225 | 23400
Doublethrow 2 pole 60 amp | 1 | 1 | 2.1 | 2.1 | 4.2 | 225 | 945
Smoke detectors (hard wired)-bedrooms and livingroom | 2 | 1 | 12.5 | 25 | 50 | 225 | 11250
Stove | 1 | 1 | 165 | 165 | 330 | 225 | 74250
Refrigerator | 1 | 1 | 300 | 300 | 600 | 225 | 135000
Kitchen cabinets-minimum 4-build | 1 | 1 | 150 | 150 | 300 | 225 | 67500
Countertop-build (use concrete board, tile, plastic strip) | 1 | 1 | 75 | 75 | 150 | 225 | 33750
Base cabinet-build | 1 | 1 | 75 | 75 | 150 | 225 | 33750
Base cabinet sink | 1 | 1 | 26 | 26 | 52 | 225 | 11700
Kitchen drain | 1 | 1 | 1.55 | 1.55 | 3.1 | 225 | 697.5
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 1 | 35 | 35 | 70 | 225 | 15750
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 1 | 4.6 | 23 | 46 | 225 | 10350
Units-PVC pipe fittings | 6 | 1 | 1 | 6 | 12 | 225 | 2700
Units-glue/putty | 1 | 1 | 10 | 10 | 20 | 225 | 4500
Units j trap | 3 | 1 | 5 | 15 | 30 | 225 | 6750
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 1 | 5 | 20 | 40 | 225 | 9000
Toilet flange and gasket (includes wax ring)-4 in | 1 | 1 | 1.6 | 1.6 | 3.2 | 225 | 720
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 1 | 1.25 | 5 | 10 | 225 | 2250
Units-Drain pipe/glue/connectors | 1 | 1 | 50 | 50 | 100 | 225 | 22500
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 1 | 75 | 75 | 150 | 225 | 33750
Units-vanity | 1 | 1 | 26 | 26 | 52 | 225 | 11700
Units-toilet corona | 1 | 1 | 45 | 45 | 90 | 225 | 20250
Units-faucet | 1 | 1 | 30 | 30 | 60 | 225 | 13500
Units-shower fixture | 1 | 1 | 35 | 35 | 70 | 225 | 15750
One bedroom-ceramic tile | 400 | 1 | 1 | 400 | 800 | 225 | 180000
One bedroom-grout/thin set | 1 | 1 | 125 | 125 | 250 | 225 | 56250
One bedroom-paint interior walls-tropitex $31/5gallons | 6 | 1 | 6.2 | 37.2 | 74.4 | 225 | 16740
Unit solar system-I bedroom | 1 | 1 | 1500 | 1500 | 3000 | 225 | 675000
Subtotal-before allocation of common costs |  |  |  | 7020 | 14040 |  | 3159000 | 3159000
Common costs allocation |  |  |  | 4756.2977 | 9512.5954 |  | 2140333.9575
Grand total |  |  |  | 11776.2977 | 23552.5954 |  | 5299333.9575
Two Bedrooms
Panels- Interior rooms | 50.6 | 1 | 55 | 2783 | 61226 | 225 | 13775850
Shipping panels for interior walls | 50.6 | 1 | 6 | 303.6 | 6679.2 | 225 | 1502820
2 windows | 2 | 1 | 150 | 300 | 6600 | 225 | 1485000
Exterior unit doors | 1 | 1 | 100 | 100 | 2200 | 225 | 495000
Exterior door locks-$32 | 1 | 1 | 16 | 16 | 352 | 225 | 79200
Door hinges-exterior doors | 1 | 1 | 1 | 1 | 22 | 225 | 4950
2 BR-2 bedrooms and bathroom door-build | 3 | 1 | 50 | 150 | 3300 | 225 | 742500
Door hinges | 3 | 1 | 1 | 3 | 66 | 225 | 14850
Bedrooms and bathrooms locks-$18 | 3 | 1 | 16 | 48 | 1056 | 225 | 237600
Unit wiring-size 12(bigger) for receptacles | 400 | 1 | 0.174 | 69.6 | 1531.2 | 225 | 344520
Unit wiring-size 14 for lights/switches/smoke detectors | 350 | 1 | 0.13 | 45.5 | 1001 | 225 | 225225
Receptacles-4 per room, bathroom 2 | 22 | 1 | 0.5 | 11 | 242 | 225 | 54450
Receptacles covers-4 per room, bathroom 2 | 22 | 1 | 0.15 | 3.3 | 72.6 | 225 | 16335
Ceramic Lights-2 per room | 12 | 1 | 0.55 | 6.6 | 145.2 | 225 | 32670
Lights switches-2 per room | 12 | 1 | 0.5 | 6 | 132 | 225 | 29700
Lights covers-2 per room | 12 | 1 | 0.15 | 1.8 | 39.6 | 225 | 8910
Ceramic Lights-Hallway 2 | 2 | 1 | 0.55 | 1.1 | 24.2 | 225 | 5445
Light switches-Hallways 2 | 2 | 1 | 0.5 | 1 | 22 | 225 | 4950
Light covers-Hallways 2 | 2 | 1 | 0.15 | 0.3 | 6.6 | 225 | 1485
Electrical boxes-receptacles/switches | 22 | 1 | 0.6 | 13.2 | 290.4 | 225 | 65340
Electrical boxes-lights | 14 | 1 | 1 | 14 | 308 | 225 | 69300
Light bulbs-energy efficient | 14 | 1 | 0.8 | 11.2 | 246.4 | 225 | 55440
Unit Panel breaker-6 circuits | 1 | 1 | 30 | 30 | 660 | 225 | 148500
Circuit breakers | 4 | 1 | 5.25 | 21 | 462 | 225 | 103950
Safety switch 60 amp | 1 | 1 | 52 | 52 | 1144 | 225 | 257400
Doublethrow 2 pole 60 amp | 1 | 1 | 2.1 | 2.1 | 46.2 | 225 | 10395
Smoke detectors (hard wired)-bedrooms and livingroom | 3 | 1 | 12.5 | 37.5 | 825 | 225 | 185625
Stove | 1 | 1 | 165 | 165 | 3630 | 225 | 816750
Refrigerator | 1 | 1 | 300 | 300 | 6600 | 225 | 1485000
Kitchen cabinets-minimum 4-build | 1 | 1 | 150 | 150 | 3300 | 225 | 742500
Countertop-build (use concrete board, tile, plastic strip) | 1 | 1 | 75 | 75 | 1650 | 225 | 371250
Base cabinet-build | 1 | 1 | 75 | 75 | 1650 | 225 | 371250
Base cabinet sink | 1 | 1 | 26 | 26 | 572 | 225 | 128700
Kitchen drain | 1 | 1 | 1.55 | 1.55 | 34.1 | 225 | 7672.5
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 1 | 35 | 35 | 770 | 225 | 173250
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 1 | 4.6 | 23 | 506 | 225 | 113850
Units-PVC pipe fittings | 6 | 1 | 1 | 6 | 132 | 225 | 29700
Units-glue/putty | 1 | 1 | 10 | 10 | 220 | 225 | 49500
Units j trap | 3 | 1 | 5 | 15 | 330 | 225 | 74250
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 1 | 5 | 20 | 440 | 225 | 99000
Toilet flange and gasket (includes wax ring)-4 in | 1 | 1 | 1.6 | 1.6 | 35.2 | 225 | 7920
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 1 | 1.25 | 5 | 110 | 225 | 24750
Units-Drain pipe/glue/connectors | 1 | 1 | 50 | 50 | 1100 | 225 | 247500
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 1 | 75 | 75 | 1650 | 225 | 371250
Units-vanity | 1 | 1 | 26 | 26 | 572 | 225 | 128700
Units-toilet corona | 1 | 1 | 45 | 45 | 990 | 225 | 222750
Units-faucet | 1 | 1 | 30 | 30 | 660 | 225 | 148500
Units-shower fixture | 1 | 1 | 35 | 35 | 770 | 225 | 173250
Two bedrooms-ceramic tile | 500 | 1 | 1 | 500 | 11000 | 225 | 2475000
Two bedrooms-grout/thin set | 1 | 1 | 125 | 125 | 2750 | 225 | 618750
Two bedrooms-paint interior walls | 8 | 1 | 6.2 | 49.6 | 1091.2 | 225 | 245520
Unit solar system-2 bedrooms | 1 | 1 | 1700 | 1700 | 37400 | 225 | 8415000
Subtotal-before allocation of common costs |  |  |  | 7575.55 | 166662.1 |  | 37498972.5 | 37498972.5
Common costs allocation |  |  |  | 5945.3721 | 130798.1863 |  | 29429591.9162
Grand total |  |  |  | 13520.9221 | 297460.2863 |  | 66928564.4162
Three Bedrooms
Panels- Interior rooms | 77 | 1 | 55 | 4235 | 101640 | 225 | 22869000
Shipping panels for interior walls | 77 | 1 | 6 | 462 | 11088 | 225 | 2494800
2 windows | 2 | 1 | 150 | 300 | 7200 | 225 | 1620000
Exterior unit doors | 1 | 1 | 100 | 100 | 2400 | 225 | 540000
Exterior door locks-$32 | 1 | 1 | 16 | 16 | 384 | 225 | 86400
Door hinges-exterior doors | 1 | 1 | 1 | 1 | 24 | 225 | 5400
3 BR-3 bedrooms and bathroom door-build | 4 | 1 | 50 | 200 | 4800 | 225 | 1080000
Door hinges | 4 | 1 | 1 | 4 | 96 | 225 | 21600
Bedrooms and bathrooms locks-$18 | 4 | 1 | 16 | 64 | 1536 | 225 | 345600
Unit wiring-size 12(bigger) for receptacles | 400 | 1 | 0.174 | 69.6 | 1670.4 | 225 | 375840
Unit wiring-size 14 for lights/switches/smoke detectors | 400 | 1 | 0.13 | 52 | 1248 | 225 | 280800
Receptacles-4 per room, bathroom 2 | 26 | 1 | 0.5 | 13 | 312 | 225 | 70200
Receptacles covers-4 per room, bathroom 2 | 26 | 1 | 0.15 | 3.9 | 93.6 | 225 | 21060
Ceramic Lights-2 per room | 14 | 1 | 0.55 | 7.7 | 184.8 | 225 | 41580
Lights switches-2 per room | 14 | 1 | 0.5 | 7 | 168 | 225 | 37800
Lights covers-2 per room | 14 | 1 | 0.15 | 2.1 | 50.4 | 225 | 11340
Ceramic Lights-Hallway 3 | 3 | 1 | 0.55 | 1.65 | 39.6 | 225 | 8910
Light switches-Hallways 3 | 3 | 1 | 0.5 | 1.5 | 36 | 225 | 8100
Light covers-Hallways 3 | 3 | 1 | 0.15 | 0.45 | 10.8 | 225 | 2430
Electrical boxes-receptacles/switches | 26 | 1 | 0.6 | 15.6 | 374.4 | 225 | 84240
Electrical boxes-lights | 17 | 1 | 1 | 17 | 408 | 225 | 91800
Light bulbs-energy efficient | 17 | 1 | 0.8 | 13.6 | 326.4 | 225 | 73440
Unit Panel breaker-6 circuits | 1 | 1 | 30 | 30 | 720 | 225 | 162000
Circuit breakers | 4 | 1 | 5.25 | 21 | 504 | 225 | 113400
Safety switch 60 amp | 1 | 1 | 52 | 52 | 1248 | 225 | 280800
Doublethrow 2 pole 60 amp | 1 | 1 | 2.1 | 2.1 | 50.4 | 225 | 11340
Smoke detectors (hard wired)-bedrooms and livingroom | 4 | 1 | 12.5 | 50 | 1200 | 225 | 270000
Stove | 1 | 1 | 165 | 165 | 3960 | 225 | 891000
Refrigerator | 1 | 1 | 300 | 300 | 7200 | 225 | 1620000
Kitchen cabinets-minimum 4-build | 1 | 1 | 150 | 150 | 3600 | 225 | 810000
Countertop-build (use concrete board, tile, plastic strip) | 1 | 1 | 75 | 75 | 1800 | 225 | 405000
Base cabinet-build | 1 | 1 | 75 | 75 | 1800 | 225 | 405000
Base cabinet sink | 1 | 1 | 26 | 26 | 624 | 225 | 140400
Kitchen drain | 1 | 1 | 1.55 | 1.55 | 37.2 | 225 | 8370
Kitchen sink fixture-china 15, gerber 65 (get one cheaper) | 1 | 1 | 35 | 35 | 840 | 225 | 189000
Units-PVC pipe-20 ft: 3/4 $4.60; 1/2 $3.40 | 5 | 1 | 4.6 | 23 | 552 | 225 | 124200
Units-PVC pipe fittings | 6 | 1 | 1 | 6 | 144 | 225 | 32400
Units-glue/putty | 1 | 1 | 10 | 10 | 240 | 225 | 54000
Units j trap | 3 | 1 | 5 | 15 | 360 | 225 | 81000
Unit shut off valves-entrance, bathroom, kitchen, vanity | 4 | 1 | 5 | 20 | 480 | 225 | 108000
Toilet flange and gasket (includes wax ring)-4 in | 1 | 1 | 1.6 | 1.6 | 38.4 | 225 | 8640
Flexible line water connectors-bathroom, kitchen sink, vanity, toilet | 4 | 1 | 1.25 | 5 | 120 | 225 | 27000
Units-Drain pipe/glue/connectors | 1 | 1 | 50 | 50 | 1200 | 225 | 270000
Units-Shower: Blocks. Concrete, tile- shower area | 1 | 1 | 75 | 75 | 1800 | 225 | 405000
Units-vanity | 1 | 1 | 26 | 26 | 624 | 225 | 140400
Units-toilet corona | 1 | 1 | 45 | 45 | 1080 | 225 | 243000
Units-faucet | 1 | 1 | 30 | 30 | 720 | 225 | 162000
Units-shower fixture | 1 | 1 | 35 | 35 | 840 | 225 | 189000
Three bedrooms-ceramic tile | 600 | 1 | 1 | 600 | 14400 | 225 | 3240000
Three bedrooms-grout/thin set | 1 | 1 | 125 | 125 | 3000 | 225 | 675000
Three bedrooms-paint interior walls | 10 | 1 | 6.2 | 62 | 1488 | 225 | 334800
Unit solar system-3 bedrooms | 1 | 1 | 2000 | 2000 | 48000 | 225 | 10800000
Subtotal-before allocation of common costs |  |  |  | 9698.35 | 232760.4 |  | 52371090 | 52371090
Common costs allocation |  |  |  | 7134.4465 | 171226.7166 |  | 38526011.2358
Grand total |  |  |  | 16832.7965 | 403987.1166 |  | 90897101.2358
Total before allocation of common costs |  |  |  | 24293.9 | 413462.5 |  | 93029062.5 | 93029062.5
Common costs allocation |  |  |  | 17836.1163 | 311537.4983 |  | 70095937.1095
Grand total |  |  |  | 42130.0163 | 724999.9983 |  | 163124999.6095